## Widescan
Wide Scan – EP3
Detector angle | Rate at 35kV
2*theta/� | R(35kV)/Imp/s
10 | 95
10.3 | 88
10.8 | 95
11.2 | 88
11.6 | 95
12 | 86
12.4 | 90
12.8 | 82
13.2 | 90
13.6 | 74
14 | 91
14.4 | 92
14.8 | 85
15.2 | 84
15.6 | 79
16 | 75
16.4 | 84
16.7 | 127
17.2 | 147
17.6 | 146
18 | 136
18.4 | 128
18.7 | 126
19.2 | 134
19.6 | 122
20 | 111
20.4 | 109
20.7 | 103
21.2 | 94
21.6 | 94
22 | 91
22.4 | 91
22.7 | 83
23.2 | 87
23.6 | 80
24 | 85
24.4 | 139
24.8 | 581
25.2 | 606
25.6 | 230
26 | 103
26.4 | 116
26.8 | 238
27.2 | 796
27.6 | 2523
28 | 1360
28.4 | 315
28.8 | 87
29.2 | 71
29.6 | 62
30 | 55
30.4 | 53
30.8 | 61
31.2 | 46
31.6 | 48
32 | 51
32.4 | 49
32.8 | 48
33.2 | 57
33.5 | 52
34 | 49
34.4 | 49
34.8 | 51
35.2 | 49
35.5 | 53
36 | 47
36.4 | 46
36.8 | 40
37.2 | 42
37.5 | 47
38 | 44
38.4 | 43
38.8 | 41
39.2 | 42
39.5 | 45
40 | 37
40.4 | 36
40.8 | 36
41.2 | 39
41.5 | 41
42 | 33
42.4 | 40
42.8 | 37
43.2 | 34
43.5 | 35
44 | 33
44.4 | 39
44.8 | 32
45.2 | 35
45.5 | 33
46 | 33
46.4 | 37
46.8 | 34
47.2 | 34
47.5 | 28
48 | 38
48.4 | 38
48.8 | 33
49.2 | 40
49.6 | 65
50 | 201
50.4 | 178
50.8 | 73
51.2 | 49
51.6 | 44
52 | 40
52.4 | 33
52.8 | 35
53.2 | 36
53.6 | 39
54 | 38
54.4 | 40
54.8 | 66
55.2 | 123
55.6 | 329
56 | 847
56.4 | 366
56.8 | 106
57.2 | 52
57.6 | 43
58 | 39
58.4 | 35
58.8 | 39
59.2 | 33
59.6 | 31
60 | 29
60.4 | 29
60.8 | 34
61.2 | 31
61.6 | 32
62 | 25
62.4 | 26
62.8 | 27
63.2 | 34
63.6 | 28
64 | 25
64.4 | 29
64.8 | 33
65.1 | 27
65.6 | 30
66 | 30
66.4 | 27
66.8 | 27
67.1 | 27
67.6 | 28
68 | 36
68.4 | 29
68.8 | 24
69.1 | 29
69.6 | 28
70 | 24
70.4 | 28
70.8 | 29
71.1 | 26
71.6 | 31
72 | 27
72.4 | 26
72.8 | 27
73.1 | 24
73.6 | 27
74 | 24
74.4 | 26
74.8 | 26
75.1 | 24
75.6 | 23
76 | 25
76.4 | 24
76.8 | 28
77.1 | 29
77.6 | 30
78 | 34
78.4 | 54
78.8 | 76
79.1 | 39
79.6 | 31
80 | 32
80.4 | 30
80.8 | 30
81.1 | 25
81.6 | 33
82 | 23
82.4 | 23
82.8 | 25
83.1 | 24
83.6 | 33
84 | 30
84.4 | 29
84.8 | 32
85.1 | 33
85.6 | 26
86 | 23
86.4 | 30
86.8 | 28
87.1 | 25
87.6 | 37
88 | 46
88.4 | 67
88.8 | 159
89.1 | 250
89.6 | 85
90 | 35
90.4 | 25
90.8 | 30
91.1 | 27
91.6 | 27
92 | 25
92.4 | 25
92.8 | 26
93.1 | 31
93.6 | 25
94 | 28
94.4 | 24
94.8 | 24
95.1 | 29
95.6 | 20
96 | 26
96.4 | 25
96.8 | 23
97.1 | 27
97.6 | 27
98 | 27
98.4 | 21
98.8 | 24
99.1 | 25
99.6 | 24
100 | 26
100.4 | 23
100.8 | 20
101.2 | 23
101.6 | 20
102 | 25
102.4 | 23
102.8 | 25
103.2 | 22
103.6 | 24
104 | 24
104.4 | 27
104.8 | 20
105.2 | 24
105.6 | 25
106 | 24
106.4 | 25
106.8 | 25
107.2 | 25
107.6 | 26
108 | 26
108.4 | 22
108.8 | 25
109.2 | 21
109.6 | 28
110 | 28

## Peak 1
Peak 1 - EP3 - All Trials
| Trial 1 |  |  | Trial 2 |  |  | Trial 3 |  |  | Trial 4 |  |  | Trial 5
| Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse
| 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s
| 23.6 | 94 | 2218.4 | 23.6 | 103 | 2430.8 | 23.6 | 99 | 2336.4 | 23.6 | 81 | 1911.6 | 23.6 | 90 | 2124
| 23.8 | 83 | 1975.4 | 23.8 | 80 | 1904 | 23.8 | 76 | 1808.8 | 23.8 | 86 | 2046.8 | 23.8 | 82 | 1951.6
| 24 | 120 | 2880 | 24 | 117 | 2808 | 24 | 99 | 2376 | 24 | 94 | 2256 | 24 | 98 | 2352
| 24.2 | 134 | 3242.8 | 24.2 | 122 | 2952.4 | 24.2 | 99 | 2395.8 | 24.2 | 137 | 3315.4 | 24.2 | 119 | 2879.8
| 24.4 | 231 | 5636.4 | 24.4 | 192 | 4684.8 | 24.4 | 182 | 4440.8 | 24.4 | 190 | 4636 | 24.4 | 180 | 4392
| 24.6 | 449 | 11045.4 | 24.6 | 408 | 10036.8 | 24.6 | 373 | 9175.8 | 24.6 | 332 | 8167.2 | 24.6 | 355 | 8733
| 24.8 | 781 | 19368.8 | 24.8 | 776 | 19244.8 | 24.8 | 697 | 17285.6 | 24.8 | 707 | 17533.6 | 24.8 | 715 | 17732
| 25 | 732 | 18300 | 25 | 697 | 17425 | 25 | 707 | 17675 | 25 | 692 | 17300 | 25 | 650 | 16250
| 25.2 | 508 | 12801.6 | 25.2 | 548 | 13809.6 | 25.2 | 569 | 14338.8 | 25.2 | 552 | 13910.4 | 25.2 | 597 | 15044.4
| 25.4 | 274 | 6959.6 | 25.4 | 295 | 7493 | 25.4 | 306 | 7772.4 | 25.4 | 276 | 7010.4 | 25.4 | 346 | 8788.4
| 25.6 | 200 | 5120 | 25.6 | 163 | 4172.8 | 25.6 | 165 | 4224 | 25.6 | 182 | 4659.2 | 25.6 | 186 | 4761.6
| 25.8 | 153 | 3947.4 | 25.8 | 122 | 3147.6 | 25.8 | 160 | 4128 | 25.8 | 150 | 3870 | 25.8 | 127 | 3276.6
| 26 | 99 | 2574 | 26 | 109 | 2834 | 26 | 115 | 2990 | 26 | 109 | 2834 | 26 | 101 | 2626
|  | 3858 | 96069.8 |  | 3732 | 92943.6 |  | 3647 | 90947.4 |  | 3588 | 89450.6 |  | 3646 | 90911.4
Peaks (in degree) (2*theta)= |  |  | 24.9015 |  |  | 24.9045 |  |  | 24.9376 |  |  | 24.9305 |  |  | 24.9346
THETA in radian = |  |  | 0.21731 |  |  | 0.21733 |  |  | 0.21762 |  |  | 0.21756 |  |  | 0.2176
avg = |  | 0.21748 |  | lambda = | 1.3922e-10
d= n*lambda / 2* sin theta |  | 3.2261e-10
in angstorm

## Peak 2
Peak 2 - EP3 - All Trials
| Trial 1 |  |  | Trial 2 |  |  | Trial 3 |  |  | Trial 4 |  |  | Trial 5
| Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse
| 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s
| 26.4 | 110 | 2904 | 26.4 | 123 | 3247.2 | 26.4 | 127 | 3352.8 | 26.4 | 133 | 3511.2 | 26.4 | 126 | 3326.4
| 26.6 | 184 | 4894.4 | 26.6 | 188 | 5000.8 | 26.6 | 203 | 5399.8 | 26.6 | 189 | 5027.4 | 26.6 | 169 | 4495.4
| 26.8 | 258 | 6914.4 | 26.8 | 296 | 7932.8 | 26.8 | 320 | 8576 | 26.8 | 261 | 6994.8 | 26.8 | 275 | 7370
| 27 | 518 | 13986 | 27 | 502 | 13554 | 27 | 524 | 14148 | 27 | 500 | 13500 | 27 | 516 | 13932
| 27.2 | 1028 | 27961.6 | 27.2 | 1085 | 29512 | 27.2 | 1098 | 29865.6 | 27.2 | 1115 | 30328 | 27.2 | 1103 | 30001.6
| 27.4 | 2447 | 67047.8 | 27.4 | 2452 | 67184.8 | 27.4 | 2616 | 71678.4 | 27.4 | 2629 | 72034.6 | 27.4 | 2536 | 69486.4
| 27.6 | 2535 | 69966 | 27.6 | 2638 | 72808.8 | 27.6 | 2628 | 72532.8 | 27.6 | 2636 | 72753.6 | 27.6 | 2616 | 72201.6
| 27.8 | 2382 | 66219.6 | 27.8 | 2406 | 66886.8 | 27.8 | 2308 | 64162.4 | 27.8 | 2424 | 67387.2 | 27.8 | 2328 | 64718.4
| 28 | 1273 | 35644 | 28 | 1180 | 33040 | 28 | 1195 | 33460 | 28 | 1139 | 31892 | 28 | 1287 | 36036
| 28.2 | 560 | 15792 | 28.2 | 533 | 15030.6 | 28.2 | 595 | 16779 | 28.2 | 517 | 14579.4 | 28.2 | 596 | 16807.2
| 28.4 | 241 | 6844.4 | 28.4 | 281 | 7980.4 | 28.4 | 251 | 7128.4 | 28.4 | 245 | 6958 | 28.4 | 296 | 8406.4
| 28.6 | 143 | 4089.8 | 28.6 | 131 | 3746.6 | 28.6 | 122 | 3489.2 | 28.6 | 129 | 3689.4 | 28.6 | 160 | 4576
| 28.8 | 90 | 2592 | 28.8 | 66 | 1900.8 | 28.8 | 85 | 2448 | 28.8 | 73 | 2102.4 | 28.8 | 73 | 2102.4
| 29 | 68 | 1972 | 29 | 74 | 2146 | 29 | 86 | 2494 | 29 | 72 | 2088 | 29 | 68 | 1972
|  | 11837 | 326828 |  | 11955 | 329971.6 |  | 12158 | 335514.4 |  | 12062 | 332846 |  | 12149 | 335431.8
Peaks (in degree) (2*theta)= |  |  | 27.6107 |  |  | 27.6011 |  |  | 27.5962 |  |  | 27.5946 |  |  | 27.6098
THETA in radian = |  |  | 0.24095 |  |  | 0.24087 |  |  | 0.24082 |  |  | 0.24081 |  |  | 0.24094
avg = |  | 0.24088 |  | lambda = | 1.5406e-10
d= n*lambda / 2* sin theta |  | 3.229e-10
in angstorm

## Peak 3
Peak 3 - EP3 - All Trials
| Trial 1 |  |  | Trial 2 |  |  | Trial 3 |  |  | Trial 4 |  |  | Trial 5
| Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse
| 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s
| 48.8 | 49 | 2391.2 | 48.8 | 33 | 1610.4 | 48.8 | 28 | 1366.4 | 48.8 | 38 | 1854.4 | 48.8 | 29 | 1415.2
| 49 | 36 | 1764 | 49 | 47 | 2303 | 49 | 43 | 2107 | 49 | 36 | 1764 | 49 | 30 | 1470
| 49.2 | 46 | 2263.2 | 49.2 | 43 | 2115.6 | 49.2 | 49 | 2410.8 | 49.2 | 48 | 2361.6 | 49.2 | 43 | 2115.6
| 49.4 | 50 | 2470 | 49.4 | 52 | 2568.8 | 49.4 | 52 | 2568.8 | 49.4 | 62 | 3062.8 | 49.4 | 49 | 2420.6
| 49.6 | 76 | 3769.6 | 49.6 | 82 | 4067.2 | 49.6 | 78 | 3868.8 | 49.6 | 73 | 3620.8 | 49.6 | 67 | 3323.2
| 49.8 | 114 | 5677.2 | 49.8 | 114 | 5677.2 | 49.8 | 88 | 4382.4 | 49.8 | 95 | 4731 | 49.8 | 98 | 4880.4
| 50 | 210 | 10500 | 50 | 216 | 10800 | 50 | 246 | 12300 | 50 | 217 | 10850 | 50 | 215 | 10750
| 50.2 | 237 | 11897.4 | 50.2 | 209 | 10491.8 | 50.2 | 231 | 11596.2 | 50.2 | 206 | 10341.2 | 50.2 | 221 | 11094.2
| 50.4 | 173 | 8719.2 | 50.4 | 170 | 8568 | 50.4 | 165 | 8316 | 50.4 | 154 | 7761.6 | 50.4 | 156 | 7862.4
| 50.6 | 95 | 4807 | 50.6 | 88 | 4452.8 | 50.6 | 94 | 4756.4 | 50.6 | 114 | 5768.4 | 50.6 | 115 | 5819
| 50.8 | 68 | 3454.4 | 50.8 | 51 | 2590.8 | 50.8 | 54 | 2743.2 | 50.8 | 63 | 3200.4 | 50.8 | 63 | 3200.4
| 51 | 46 | 2346 | 51 | 50 | 2550 | 51 | 45 | 2295 | 51 | 60 | 3060 | 51 | 58 | 2958
| 51.2 | 52 | 2662.4 | 51.2 | 49 | 2508.8 | 51.2 | 50 | 2560 | 51.2 | 51 | 2611.2 | 51.2 | 36 | 1843.2
| 51.4 | 50 | 2570 | 51.4 | 54 | 2775.6 | 51.4 | 49 | 2518.6 | 51.4 | 46 | 2364.4 | 51.4 | 32 | 1644.8
| 51.6 | 40 | 2064 | 51.6 | 29 | 1496.4 | 51.6 | 44 | 2270.4 | 51.6 | 46 | 2373.6 | 51.6 | 30 | 1548
| 51.8 | 38 | 1968.4 | 51.8 | 31 | 1605.8 | 51.8 | 39 | 2020.2 | 51.8 | 41 | 2123.8 | 51.8 | 34 | 1761.2
| 52 | 35 | 1820 | 52 | 45 | 2340 | 52 | 48 | 2496 | 52 | 44 | 2288 | 52 | 34 | 1768
|  | 1415 | 71144 |  | 1363 | 68522.2 |  | 1403 | 70576.2 |  | 1394 | 70137.2 |  | 1310 | 65874.2
Peaks (in degree) (2*theta)= |  |  | 50.2784 |  |  | 50.2731 |  |  | 50.3038 |  |  | 50.3136 |  |  | 50.2856
THETA in radian = |  |  | 0.43876 |  |  | 0.43872 |  |  | 0.43898 |  |  | 0.43907 |  |  | 0.43883
avg = |  | 0.43887 |  | lambda = | 1.3922e-10
d= n*lambda / 2* sin theta |  | 3.2764e-10
in angstorm

## Peak 4
Peak 4 - EP3 - All Trials
| Trial 1 |  |  | Trial 2 |  |  | Trial 3 |  |  | Trial 4 |  |  | Trial 5
| Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse
| 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s
| 54.4 | 51 | 2774.4 | 54.4 | 63 | 3427.2 | 54.4 | 41 | 2230.4 | 54.4 | 43 | 2339.2 | 54.4 | 44 | 2393.6
| 54.6 | 58 | 3166.8 | 54.6 | 59 | 3221.4 | 54.6 | 59 | 3221.4 | 54.6 | 55 | 3003 | 54.6 | 56 | 3057.6
| 54.8 | 76 | 4164.8 | 54.8 | 83 | 4548.4 | 54.8 | 66 | 3616.8 | 54.8 | 68 | 3726.4 | 54.8 | 69 | 3781.2
| 55 | 103 | 5665 | 55 | 94 | 5170 | 55 | 115 | 6325 | 55 | 107 | 5885 | 55 | 102 | 5610
| 55.2 | 145 | 8004 | 55.2 | 140 | 7728 | 55.2 | 135 | 7452 | 55.2 | 147 | 8114.4 | 55.2 | 144 | 7948.8
| 55.4 | 226 | 12520.4 | 55.4 | 212 | 11744.8 | 55.4 | 214 | 11855.6 | 55.4 | 228 | 12631.2 | 55.4 | 244 | 13517.6
| 55.6 | 487 | 27077.2 | 55.6 | 496 | 27577.6 | 55.6 | 510 | 28356 | 55.6 | 502 | 27911.2 | 55.6 | 505 | 28078
| 55.8 | 927 | 51726.6 | 55.8 | 899 | 50164.2 | 55.8 | 880 | 49104 | 55.8 | 948 | 52898.4 | 55.8 | 878 | 48992.4
| 56 | 815 | 45640 | 56 | 783 | 43848 | 56 | 814 | 45584 | 56 | 759 | 42504 | 56 | 838 | 46928
| 56.2 | 506 | 28437.2 | 56.2 | 543 | 30516.6 | 56.2 | 502 | 28212.4 | 56.2 | 498 | 27987.6 | 56.2 | 581 | 32652.2
| 56.4 | 225 | 12690 | 56.4 | 244 | 13761.6 | 56.4 | 235 | 13254 | 56.4 | 234 | 13197.6 | 56.4 | 280 | 15792
| 56.6 | 126 | 7131.6 | 56.6 | 139 | 7867.4 | 56.6 | 143 | 8093.8 | 56.6 | 111 | 6282.6 | 56.6 | 144 | 8150.4
| 56.8 | 73 | 4146.4 | 56.8 | 104 | 5907.2 | 56.8 | 79 | 4487.2 | 56.8 | 99 | 5623.2 | 56.8 | 87 | 4941.6
| 57 | 74 | 4218 | 57 | 64 | 3648 | 57 | 60 | 3420 | 57 | 67 | 3819 | 57 | 71 | 4047
| 57.2 | 57 | 3260.4 | 57.2 | 49 | 2802.8 | 57.2 | 53 | 3031.6 | 57.2 | 41 | 2345.2 | 57.2 | 57 | 3260.4
|  | 3949 | 220622.8 |  | 3972 | 221933.2 |  | 3906 | 218244.2 |  | 3907 | 218268 |  | 4100 | 229150.8
Peaks (in degree) (2*theta)= |  |  | 55.868 |  |  | 55.8744 |  |  | 55.8741 |  |  | 55.8659 |  |  | 55.8904
THETA in radian = |  |  | 0.48754 |  |  | 0.4876 |  |  | 0.48759 |  |  | 0.48752 |  |  | 0.48774
avg = |  | 0.4876 |  | lambda = | 1.5406e-10
d= n*lambda / 2* sin theta |  | 3.2883e-10
in angstorm

## Peak 5
Peak 5 - EP3 - All Trials
| Trial 1 |  |  | Trial 2 |  |  | Trial 3 |  |  | Trial 4 |  |  | Trial 5
| Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse
| 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s
| 77.4 | 37 | 2863.8 | 77.4 | 30 | 2322 | 77.4 | 28 | 2167.2 | 77.4 | 20 | 1548 | 77.4 | 30 | 2322
| 77.6 | 32 | 2483.2 | 77.6 | 27 | 2095.2 | 77.6 | 39 | 3026.4 | 77.6 | 27 | 2095.2 | 77.6 | 39 | 3026.4
| 77.8 | 40 | 3112 | 77.8 | 26 | 2022.8 | 77.8 | 31 | 2411.8 | 77.8 | 29 | 2256.2 | 77.8 | 27 | 2100.6
| 78 | 29 | 2262 | 78 | 28 | 2184 | 78 | 32 | 2496 | 78 | 32 | 2496 | 78 | 34 | 2652
| 78.1 | 47 | 3670.7 | 78.1 | 37 | 2889.7 | 78.1 | 34 | 2655.4 | 78.1 | 36 | 2811.6 | 78.1 | 41 | 3202.1
| 78.4 | 76 | 5958.4 | 78.4 | 61 | 4782.4 | 78.4 | 53 | 4155.2 | 78.4 | 69 | 5409.6 | 78.4 | 68 | 5331.2
| 78.6 | 78 | 6130.8 | 78.6 | 66 | 5187.6 | 78.6 | 87 | 6838.2 | 78.6 | 79 | 6209.4 | 78.6 | 75 | 5895
| 78.8 | 69 | 5437.2 | 78.8 | 66 | 5200.8 | 78.8 | 52 | 4097.6 | 78.8 | 66 | 5200.8 | 78.8 | 55 | 4334
| 79 | 38 | 3002 | 79 | 49 | 3871 | 79 | 33 | 2607 | 79 | 35 | 2765 | 79 | 39 | 3081
| 79.1 | 30 | 2373 | 79.1 | 29 | 2293.9 | 79.1 | 29 | 2293.9 | 79.1 | 16 | 1265.6 | 79.1 | 28 | 2214.8
| 79.4 | 26 | 2064.4 | 79.4 | 32 | 2540.8 | 79.4 | 30 | 2382 | 79.4 | 22 | 1746.8 | 79.4 | 29 | 2302.6
| 79.6 | 29 | 2308.4 | 79.6 | 22 | 1751.2 | 79.6 | 37 | 2945.2 | 79.6 | 31 | 2467.6 | 79.6 | 31 | 2467.6
|  | 531 | 41665.9 |  | 473 | 37141.4 |  | 485 | 38075.9 |  | 462 | 36271.8 |  | 496 | 38929.3
Peaks (in degree) (2*theta)= |  |  | 78.4669 |  |  | 78.523 |  |  | 78.507 |  |  | 78.5104 |  |  | 78.4865
THETA in radian = |  |  | 0.68475 |  |  | 0.68524 |  |  | 0.6851 |  |  | 0.68513 |  |  | 0.68492
avg = |  | 0.68503 |  | lambda = | 1.3922e-10
d= n*lambda / 2* sin theta |  | 3.3006e-10
in angstorm

## Peak 6
Peak 6 - EP3 - All Trials
| Trial 1 |  |  | Trial 2 |  |  | Trial 3 |  |  | Trial 4 |  |  | Trial 5
| Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse | Detector angle | Rate at 35kV | angle*impulse
| 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s |  | 2*theta/deg | R(35kV)/Imp/s
| 87.6 | 39 | 3416.4 | 87.6 | 28 | 2452.8 | 87.6 | 38 | 3328.8 | 87.6 | 42 | 3679.2 | 87.6 | 42 | 3679.2
| 87.8 | 44 | 3863.2 | 87.8 | 35 | 3073 | 87.8 | 32 | 2809.6 | 87.8 | 31 | 2721.8 | 87.8 | 41 | 3599.8
| 88 | 54 | 4752 | 88 | 52 | 4576 | 88 | 59 | 5192 | 88 | 57 | 5016 | 88 | 47 | 4136
| 88.1 | 63 | 5550.3 | 88.1 | 53 | 4669.3 | 88.1 | 56 | 4933.6 | 88.1 | 74 | 6519.4 | 88.1 | 45 | 3964.5
| 88.4 | 68 | 6011.2 | 88.4 | 66 | 5834.4 | 88.4 | 68 | 6011.2 | 88.4 | 68 | 6011.2 | 88.4 | 81 | 7160.4
| 88.6 | 117 | 10366.2 | 88.6 | 120 | 10632 | 88.6 | 114 | 10100.4 | 88.6 | 127 | 11252.2 | 88.6 | 124 | 10986.4
| 88.8 | 204 | 18115.2 | 88.8 | 220 | 19536 | 88.8 | 214 | 19003.2 | 88.8 | 170 | 15096 | 88.8 | 202 | 17937.6
| 89 | 271 | 24119 | 89 | 241 | 21449 | 89 | 289 | 25721 | 89 | 248 | 22072 | 89 | 240 | 21360
| 89.1 | 198 | 17641.8 | 89.1 | 215 | 19156.5 | 89.1 | 227 | 20225.7 | 89.1 | 233 | 20760.3 | 89.1 | 234 | 20849.4
| 89.4 | 111 | 9923.4 | 89.4 | 98 | 8761.2 | 89.4 | 116 | 10370.4 | 89.4 | 124 | 11085.6 | 89.4 | 122 | 10906.8
| 89.6 | 55 | 4928 | 89.6 | 78 | 6988.8 | 89.6 | 64 | 5734.4 | 89.6 | 57 | 5107.2 | 89.6 | 76 | 6809.6
| 89.8 | 53 | 4759.4 | 89.8 | 45 | 4041 | 89.8 | 44 | 3951.2 | 89.8 | 36 | 3232.8 | 89.8 | 45 | 4041
| 90 | 43 | 3870 | 90 | 45 | 4050 | 90 | 34 | 3060 | 90 | 40 | 3600 | 90 | 37 | 3330
| 90.1 | 35 | 3153.5 | 90.1 | 40 | 3604 | 90.1 | 47 | 4234.7 | 90.1 | 32 | 2883.2 | 90.1 | 35 | 3153.5
| 90.4 | 27 | 2440.8 | 90.4 | 24 | 2169.6 | 90.4 | 43 | 3887.2 | 90.4 | 29 | 2621.6 | 90.4 | 21 | 1898.4
|  | 1382 | 122910.4 |  | 1360 | 120993.6 |  | 1445 | 128563.4 |  | 1368 | 121658.5 |  | 1392 | 123812.6
Peaks (in degree) (2*theta)= |  |  | 88.9366 |  |  | 88.9659 |  |  | 88.9712 |  |  | 88.9317 |  |  | 88.9458
THETA in radian = |  |  | 0.77612 |  |  | 0.77637 |  |  | 0.77642 |  |  | 0.77608 |  |  | 0.7762
avg = |  | 0.77624 |  | lambda = | 1.5406e-10
d= n*lambda / 2* sin theta |  | 3.2985e-10
in angstorm